## Slide 1
DOE Reduced Model Analysis (451 Parameters)
Design of Experiments - Reduced Model

## Slide 2
Model Fit Diagram

## Slide 3
Model Equation
Interface_Temp = β₀ + Σ(β_i × Factor_i) + ε
Where:
• β₀ = Intercept
• β_i = Parameter coefficients
• Factor_i = Design factors (Transceiver, Fan Speed, Rack Unit)
• ε = Random error term
Reduced Model: 451 parameters (-45%) | Model Type: Multiple Linear Regression | Response: Interface_Temp

## Slide 4
Model Comparison: Full vs Reduced
Metric | Full Model | Reduced Model | Change
RÂ² | 0.389692 | 0.385237 | -0.004455
Adjusted RÂ² | 0.371752 | 0.370915 | -0.000837
MSE | 1.7437 | 1.74602 | +0.00232225
Residual Std Error | 1.32049 | 1.32137 | +0.000879
Degrees of Freedom | 7382 | 7426 | +44
F-statistic | 21.7214 | 26.8986 | +5.177188
P-value (F) | 0 | 0 | -
Parameters | 820 | 451 | -369

## Slide 5
ANOVA Table (Type I - Sequential)
Unnamed: 0 | df | sum_sq | mean_sq | F | PR(>F)
C(Transceiver_Manufacturer) | 9 | 3416.87 | 379.652 | 217.439 | 0
C(Rack_Unit) | 40 | 420.47 | 10.5118 | 6.02041 | 6.57e-30
C(Fan_Speed_Range) | 1 | 1.65064 | 1.65064 | 0.945371 | 0.330932
C(Transceiver_Manufacturer):C(Rack_Unit) | 360 | 4773 | 13.2583 | 7.59347 | 2.33e-294
C(Rack_Unit):C(Fan_Speed_Range) | 40 | 82.5742 | 2.06435 | 1.18232 | 0.200146
Residual | 7426 | 12965.9 | 1.74602 | nan | nan

## Slide 6
Lack of Fit Test
Unnamed: 0 | Source | df | sum_sq | mean_sq | F | PR(>F)
0 | Lack of Fit | 44 | 96.1987 | 2.18633 | 1.25407 | 0.121251
1 | Pure Error | 7382 | 12869.7 | 1.7434 | nan | nan
2 | Total Error | 7426 | 12965.9 | 1.74602 | nan | nan

## Slide 7
Interaction Plot: Fan_Speed_Range × Rack_Unit

## Slide 8
Interaction Plot: Rack_Unit × Transceiver_Manufacturer

## Slide 9
Leverage Plot 1

## Slide 10
Leverage Plot 2

## Slide 11
Leverage Plot 3

## Slide 12
Leverage Plot 4

## Slide 13
Leverage Plot 5

## Slide 14
Leverage Plot 6

## Slide 15
Leverage Plot 7

## Slide 16
Leverage Plot 8

## Slide 17
Leverage Plot 9

## Slide 18
Leverage Plot 10

## Slide 19
Leverage Plot 11

## Slide 20
Leverage Plot 12

## Slide 21
Leverage Plot 13

## Slide 22
Leverage Plot 14

## Slide 23
Leverage Plot 15

## Slide 24
Leverage Plot 16

## Slide 25
Leverage Plot 17

## Slide 26
Leverage Plot 18

## Slide 27
Leverage Plot 19

## Slide 28
Leverage Plot 20

## Slide 29
Leverage Plot 21

## Slide 30
Leverage Plot 22

## Slide 31
Leverage Plot 23

## Slide 32
Leverage Plot 24

## Slide 33
Leverage Plot 25

## Slide 34
Leverage Plot 26

## Slide 35
Leverage Plot 27

## Slide 36
Leverage Plot 28

## Slide 37
Leverage Plot 29

## Slide 38
Leverage Plot 30

## Slide 39
Leverage Plot 31

## Slide 40
Leverage Plot 32

## Slide 41
Leverage Plot 33

## Slide 42
Leverage Plot 34

## Slide 43
Leverage Plot 35

## Slide 44
Leverage Plot 36

## Slide 45
Leverage Plot 37

## Slide 46
Leverage Plot 38

## Slide 47
Leverage Plot 39

## Slide 48
Leverage Plot 40

## Slide 49
Leverage Plot 41

## Slide 50
Leverage Plot 42

## Slide 51
Leverage Plot 43

## Slide 52
Leverage Plot 44

## Slide 53
Leverage Plot 45

## Slide 54
Leverage Plot 46

## Slide 55
Leverage Plot 47

## Slide 56
Leverage Plot 48

## Slide 57
Leverage Plot 49

## Slide 58
Leverage Plot 50

## Slide 59
Leverage Plot 51